## Tender
Housing Urban Development & Public Health Engineering Department Division Sahiwal
Government Girl's Elementary School 88/GB UC 133 District Faisalabad
Provision of 4 no of wash basins,2 no of flush tanks, repairing (replacement of iron sheet 18 SWG) of 3 no of steel doors (Toilet) and paint work for doors & ventilators, distemper & weather shield
ABSTRACT OF QUANTITY & COST
Quantity/cost
Sr. | Description of work | Quantity | Unit | Unit Rate | Amount
1 | Providing & fitting of 4 number of wash basins medium size (master), connecting with existing water supply with stop cocks, single tape (steel) (sartaj/master), connection pipes (steel) strainer (jali) and waste pipe, fixing 10-15 feet pipe 4'' (Popular/Royal or similar quality) to disposing off waste water complete in all respect | 4 | Job
2 | Providing & fitting of 2 number of flush tanks (master), connecting with existing water supply with stop cocks, (sartaj/master/Adam) connecting with pipe complete in all respect | 2 | Job
3 | Repair & replacing 3 no of iron sheet of existing steel doors of toilets i-30''x39'' use 18 swg M/S sheet in all respect, removing existing sheets, welding of sheet, granding and fixing with angle iron frame | 3 | Job
4 | Removing rust, applying two coats of oil Paint on door surface (both sides) and fram of angle iron (Master/Burger/Dulux- ICI paints) @ 100 sft/litter of paint/coat | 228 | Job
5 | Replacing and fitting of 2 no of angle iron fram (1.5" x1.5" x 1/16'') of toilet in all respect, apply oile paint on frame (Master/ICI/Dulex) | 2 | Job
Sub Total
Amount in words ______________________________________________________________________________
Contractor's Signature & Seal ___________________________________ |  |  |  | Date _____________________

## Measurements
Housing Urban Development & Public Health Engineering Department Division Faisalabad
Government Girl's Elementary School 88/GB UC 133 District Faisalabad
Provision of 4 no of wash basins,2 no of flush tanks, repairing (replacement of iron sheet 18 SWG) of 3 no of steel doors (Toilet) and paint work for doors & ventilators, distemper & weather shield
MEASUREMENTS
Sr. No. | Description |  | CFT Measurements |  |  |  |  | SFT Measurements
|  |  | Nos. | Length (FT) | Width (FT) D2 | Depth (FT) H | Volume (CFT) (DxExFxG) | Nos. | Length (FT) | Width (FT) | Area (SFT) (I*J*K=L)
1 | Providing & fitting of 4 number of wash basins medium size (master), connecting with existing water supply with stop cocks, single tape (steel) (sartaj/master), connection pipes (steel) strainer (jali) and waste pipe, fixing 10-15 feet pipe 4'' (Popular/Royal or similar quality) to disposing off waste water complete in all respect | [9 empty] | 4
| Total Qauntity:- | [8 empty] | Job | 4
2 | Providing & fitting of 2 number of flush tanks (master), connecting with existing water supply with stop cocks, (sartaj/master/Adam) connecting with pipe complete in all respect | [9 empty] | 2
| Total Qauntity:- | [8 empty] | Job | 2
3 | Repair & replacing 3 no of iron sheet of existing steel doors of toilets i-30''x39'' use 18 swg M/S sheet in all respect, removing existing sheets, welding of sheet, granding and fixing with angle iron frame | [8 empty] | Job | 3
4 | Removing rust, applying two coats of oil Paint on door surface (both sides) and fram of angle iron (Master/Burger/Dulux- ICI paints) @ 100 sft/litter of paint/coat | [8 empty] | Job | 1
i | Door size (7'x2.5') | [6 empty] | 2 | 2.5 | 7 | 35
ii | Door size (7'x2.5') | [6 empty] | 2 | 2.5 | 7 | 35
iii | Door size (7'x2.5') | [6 empty] | 2 | 2.5 | 7 | 35
iv | ventilators (1.5'x1') 3 nos (both sides) | [6 empty] | 6 | 1.5 | 1 | 9
| Sub Total | [8 empty] | Sft | 114
| Total Qauntity:- (Two coats) | [8 empty] | Sft | 228
5 | Replacing and fitting of 2 no of angle iron fram (1.5" x1.5" x 1/16'') of toilet in all respect, apply oile paint on frame (Master/ICI/Dulex) | [8 empty] | Job | 2
6 | Providing and fixing 1/2'' Ф bib cock (water taps) master, Adam, Sartaj for toilets & hand washing points | [8 empty] | No | 6
7 | Cement plaster 1:4 upto 20' (6.00 m) height:- b) ½" (13 mm) thick
|  | L/W | [5 empty] | 6 | 5 | 9.6667 | 290
|  | S/W | [5 empty] | 8 | 8.5 | 9.6667 | 657.3333
| Deduction | Doors (2.5x7') | [5 empty] | 3 | 2.5 | 7 | -52.5
|  | Ventilators | [5 empty] | 3 | 1.5 | 1.5 | -6.75
| Total Qauntity:- | [8 empty] | Sft | 888.0833
8 | Providing and applying Vinyl emulsion Dulux or berger paint, 2 coats including preparation of surface
|  | L/W | [5 empty] | 6 | 5 | 9.6667 | 290
|  | S/W | [5 empty] | 8 | 8.5 | 9.6667 | 657.3333
|  | Roof | [5 empty] | 3 | 5 | 4 | 60
| Deduction of door | [6 empty] | 3 | 2.5 | 7 | -52.5
| Ventilators | [6 empty] | 3 | 1.5 | 1.5 | -6.75
| Sub Total:- | [8 empty] | Sft | 948.0833
| Total Qauntity:- (2 coats) | [8 empty] | Sft | 1896.1667
9 | Providing and applying weather sheild paint on exterior surface of building, including surface preparation and applying two coats
| Below DPC | L/W | [5 empty] | 2 | 17.67 | 1.5 | 53.01
|  | S/W | [5 empty] | 10 | 10.3333 | 1.5 | 155
| Above DPC | L/W | [5 empty] | 2 | 17.67 | 8.1667 | 288.61
|  | S/W | [5 empty] | 2 | 10 | 8.1667 | 163.3333
| Deduction of door | [6 empty] | 3 | 2.5 | 7 | -52.5
| Ventilators | [6 empty] | 3 | 1.5 | 1.5 | -6.75
| Sub Total:- | [9 empty] | 659.9533
| Total Qauntity:- (2 coats) | [8 empty] | Sft | 1319.9067

## site plan
#REF!
Government Girl's Elementary School 88/GB UC 133 District Faisalabad
Main Gate
VER
Scope of work (detail & specs are in BOQs)
|  | VER |  | 1- Repair of steel doors (Iron sheets+ frame)
2- Paint work for steel doors & ventilators
3- 2 no of flush tanks
4- 4 no of wash basins
5-
Toilet
Class room
Toilet
Toilet
Toilet
Toilet
Toilet
Toilet
Class room
Class room
Class room
Class room
Class room
Class room
Class room

## Plan
#REF!
Government Girl's Elementary School 88/GB UC 133 District Faisalabad
Steel Door
Toilet Flush Tank (Master/Polo)
33-35 inches